## Sheet1
Atmospheric Pressure Calibration
Using Local Elevation and Airport Weather Data
This spread sheet will calculate the true atmospheric pressure at the elevation of the laboratory where the calibration takes place. To do this, it is necessaryto know the elevation at the laboratory and to obtain pressure and elevation from a local airport or weather station.
Note that this speadsheet is protected, to prevent inadvertant changes; only the cells in yellow may be changed. We would appreciate your feedback in case you find errors in this method.
To determine the barometric pressure at your laboratory, do the following:
• Call your local airport or weather station and get the barometric pressure and elevation at elevation where the pressure is measured. this should be done at the time of the calibration, to minimize the effect of varying atmospheric pressure disturbances. The atmoshperic pressure at the airport is soemtimes called the "Altimeter Setting", because this is how airplane pilots use the information.
• Enter the airport elevation in line 1 below.
• Enter the airport barometric pressure in line 2 below.
• Enter the elevation of the laboratory where the calibration will take place in line 3 below. This is an important entry; at sea level, 3 feet will make a difference of 0.1 mm/torr in calibration.
• Read the true barometric pressure at the laboratory elevation in line 4 below. This value may be used to calibrate your precision vacuum gauges, and should be accurate to within 1 mm (1 torr).
| 1. elevation at airport or pressure reporting station | 1536 | feet
| 2. Altimeter setting or barometric pressure at the airport or pressure reporting station | 760.222 | mm Hg/torr
| 3. Elevation at calibration lab - (maximum elevation is 20,000 feet) | 1420 | feet
722.0149
| 4. True local pressure at calibration lab | 722.0149 | mm Hg/torr
|  | Inches Hg | mm Hg
| converter for inches Hg to mm Hg | 29.93 | 760.222
|  | mBar | mm Hg
| converter for mBar to mm Hg | 1013 | 759.7519
|  | kilo Pascal | mm Hg
| converter for kilo-Pascal to mm Hg | 1.013 | 759.7519
|  | meters | feet
| converter for meters to feet | 1000 | 3280.8333
Ron Paitich; revised August 28, 2004
Terranova Scientific Division
Duniway Stockroom Corp.
tel. (530) 889-1100
rpaitich@terranovascientific.com